## Sheet1
| Material | Types of Tests | Standard Specification | Techniques | file_name
0 | Drinking water | Heterotrophic plate count at | SMWW 9215B :2017 | Colony Counter Model: 3326, S.N.: 000234780 RV0005, Membrane Filteration System (Manifold) Oven 08-40530 Model : FD 240, S.N. pH meter Model :Sb7OP, S.N. : D00861 Digital Balance 280491/10 Model :CY204, S.N.: Autoclave Model: S.N.: 38803 ,35897 Incubator Model: FC/FC III,S.N.: B081579,B081580 B081577 | \021111B.pdf
1 | Drinking water | Detection & enumeration for members of the coliform group— membrane filter | SMWW 9222B: 2017 | Colony Counter Model: 3326, S.N.: 000234780 RV0005, Membrane Filteration System (Manifold) Oven 08-40530 Model : FD 240, S.N. pH meter Model :Sb7OP, S.N. : D00861 Digital Balance 280491/10 Model :CY204, S.N.: Autoclave Model: S.N.: 38803 ,35897 Incubator Model: FC/FC III,S.N.: B081579,B081580 B081577 | \021111B.pdf
2 | Drinking water | Detection & enumeration of thermotolerant fecal coliform | SMWW 9222B: 2017 | Colony Counter Model: 3326, S.N.: 000234780 RV0005, Membrane Filteration System (Manifold) Oven 08-40530 Model : FD 240, S.N. pH meter Model :Sb7OP, S.N. : D00861 Digital Balance 280491/10 Model :CY204, S.N.: Autoclave Model: S.N.: 38803 ,35897 Incubator Model: FC/FC III,S.N.: B081579,B081580 B081577 | \021111B.pdf
3 | Drinking water | Detection & enumeration of thermotolerant fecal coliform | SMWW 9222D: 2017 | Colony Counter Model: 3326, S.N.: 000234780 RV0005, Membrane Filteration System (Manifold) Oven 08-40530 Model : FD 240, S.N. pH meter Model :Sb7OP, S.N. : D00861 Digital Balance 280491/10 Model :CY204, S.N.: Autoclave Model: S.N.: 38803 ,35897 Incubator Model: FC/FC III,S.N.: B081579,B081580 B081577 | \021111B.pdf
4 | Drinking water | Determination of Total coliform count - Memberane filter technique | SMWW 9222 B:2017 | Membrane Filter Model :Sartorius B10019E , S.N.: 58040004 Autoclave Model: AES-110, S.N.: 38739 , Model :SX700, S.N.: 46134081 Model PSIQCSIEV100 ,S.N2737 Incubator Model : IP 100, S.N .: K10695/1, K10695/4 Model : FOC S.N .: 781149400220302 Balance Model: mittler tolido AB204S-FACE , S.N.: 1129152804 Model: mittler tolido PB3002S/FACE S.N.:1129160274 Water bath Model : memmert germany WNB22, S.N.:L Oven Model :ut12 SN.: 50042305 Laminar Air flow Model: BH-EN 2004 SN.: 875 Ultra deep freezer Model 1386-9V42 SN.: 0129683601110311 meter Model :Sension3 $.N.: , Model :Basic 20 S.N.: L1290/2 | \021207-1.pdf
5 | Drinking water | Determination of Heterotrphic bacteria at 22°C Determination of Heterotrphic bacteria at 35°C | SMWW 9215 B:2017 | Membrane Filter Model :Sartorius B10019E , S.N.: 58040004 Autoclave Model: AES-110, S.N.: 38739 , Model :SX700, S.N.: 46134081 Model PSIQCSIEV100 ,S.N2737 Incubator Model : IP 100, S.N .: K10695/1, K10695/4 Model : FOC S.N .: 781149400220302 Balance Model: mittler tolido AB204S-FACE , S.N.: 1129152804 Model: mittler tolido PB3002S/FACE S.N.:1129160274 Water bath Model : memmert germany WNB22, S.N.:L Oven Model :ut12 SN.: 50042305 Laminar Air flow Model: BH-EN 2004 SN.: 875 Ultra deep freezer Model 1386-9V42 SN.: 0129683601110311 meter Model :Sension3 $.N.: , Model :Basic 20 S.N.: L1290/2 | \021207-1.pdf
6 | Drinking water | Determination of fecal coliform -Memberane filter technique | SMWW 9222 D:2017 | Membrane Filter Model :Sartorius B10019E , S.N.: 58040004 Autoclave Model: AES-110, S.N.: 38739 , Model :SX700, S.N.: 46134081 Model PSIQCSIEV100 ,S.N2737 Incubator Model : IP 100, S.N .: K10695/1, K10695/4 Model : FOC S.N .: 781149400220302 Balance Model: mittler tolido AB204S-FACE , S.N.: 1129152804 Model: mittler tolido PB3002S/FACE S.N.:1129160274 Water bath Model : memmert germany WNB22, S.N.:L Oven Model :ut12 SN.: 50042305 Laminar Air flow Model: BH-EN 2004 SN.: 875 Ultra deep freezer Model 1386-9V42 SN.: 0129683601110311 meter Model :Sension3 $.N.: , Model :Basic 20 S.N.: L1290/2 | \021207-1.pdf
7 | Drinking water | Determination of fecal Streptococcus -Memberane filter technique | SMWW9230 C:2017 | Membrane Filter Model :Sartorius B10019E , S.N.: 58040004 Autoclave Model: AES-110, S.N.: 38739 , Model :SX700, S.N.: 46134081 Model PSIQCSIEV100 ,S.N2737 Incubator Model : IP 100, S.N .: K10695/1, K10695/4 Model : FOC S.N .: 781149400220302 Balance Model: mittler tolido AB204S-FACE , S.N.: 1129152804 Model: mittler tolido PB3002S/FACE S.N.:1129160274 Water bath Model : memmert germany WNB22, S.N.:L Oven Model :ut12 SN.: 50042305 Laminar Air flow Model: BH-EN 2004 SN.: 875 Ultra deep freezer Model 1386-9V42 SN.: 0129683601110311 meter Model :Sension3 $.N.: , Model :Basic 20 S.N.: L1290/2 | \021207-1.pdf
8 | Water | Detection and enumeration of Total Coliform | SMWW 9222B :2017 | Membrane Filter Model :Sartorius AG, S.N.: 53040006 Autocla Model: IGEA2400, S.N.: 2738 Model Incubator Model: Incucell 55, S.N.: BO10962 Incubator Model: FCP-B2V/FC22,S.N.: E141426 Incubator Model :Incucell 55, S.N.: BO10964 Oven Model: LSIS-B2V/VCI11, S.N.: C100922 Model :Stericell55, S.N.: Balance Model: Kern-PFB 1200-2, S.N.: | \0212141-1.pdf
9 | Water | Estimation of Heterotrophic Bacteria at 35 C | Inhouse method based on SMWW 9215B:2017 | Membrane Filter Model :Sartorius AG, S.N.: 53040006 Autocla Model: IGEA2400, S.N.: 2738 Model Incubator Model: Incucell 55, S.N.: BO10962 Incubator Model: FCP-B2V/FC22,S.N.: E141426 Incubator Model :Incucell 55, S.N.: BO10964 Oven Model: LSIS-B2V/VCI11, S.N.: C100922 Model :Stericell55, S.N.: Balance Model: Kern-PFB 1200-2, S.N.: | \0212141-1.pdf
10 | Water | Estimation of Heterotrophic Bacteria at 22 C | SMWW 9215B:2017 | Membrane Filter Model :Sartorius AG, S.N.: 53040006 Autocla Model: IGEA2400, S.N.: 2738 Model Incubator Model: Incucell 55, S.N.: BO10962 Incubator Model: FCP-B2V/FC22,S.N.: E141426 Incubator Model :Incucell 55, S.N.: BO10964 Oven Model: LSIS-B2V/VCI11, S.N.: C100922 Model :Stericell55, S.N.: Balance Model: Kern-PFB 1200-2, S.N.: | \0212141-1.pdf
11 | Water | Detection and Enumeration of Fecal Coliform | SMWW 9222D:2017 | Membrane Filter Model :Sartorius AG, S.N.: 53040006 Autocla Model: IGEA2400, S.N.: 2738 Model Incubator Model: Incucell 55, S.N.: BO10962 Incubator Model: FCP-B2V/FC22,S.N.: E141426 Incubator Model :Incucell 55, S.N.: BO10964 Oven Model: LSIS-B2V/VCI11, S.N.: C100922 Model :Stericell55, S.N.: Balance Model: Kern-PFB 1200-2, S.N.: | \0212141-1.pdf
12 | Water | Detection and Enumeration of Fecal and Streptococcus | SMWW 9230C : 2017 | Membrane Filter Model :Sartorius AG, S.N.: 53040006 Autocla Model: IGEA2400, S.N.: 2738 Model Incubator Model: Incucell 55, S.N.: BO10962 Incubator Model: FCP-B2V/FC22,S.N.: E141426 Incubator Model :Incucell 55, S.N.: BO10964 Oven Model: LSIS-B2V/VCI11, S.N.: C100922 Model :Stericell55, S.N.: Balance Model: Kern-PFB 1200-2, S.N.: | \0212141-1.pdf
13 | Water | Total | ISO 6222:1999 | Oven Model: Binder FD115,S.N.: 12-19489 Autoclave Model: Tomy sx-700, S.N.: 8134047 pH Meter 37106 Model: Jenway 3510, S.N.: Incubator Binder B28, S.N.: 12-09327 Model: Binder BD53, S.N.: 12-02985 Model: Binder BD115, S.N.: 12-04786 Model: Binder, S.N.: 14-03407, 16-03186 Model: ROMO, Code: 200 Model: POL-EKO, S.N.: Model: Real- Time PCR Model: thermo, S.N.: PRO241500715 Balance Model: ES-100H, S.N.: 07A7417 Model: PGW453i, S.N.: AE441307 | \021309_B.pdf
14 | Water | Enumeration of | SMWW 9221B:2017 | Oven Model: Binder FD115,S.N.: 12-19489 Autoclave Model: Tomy sx-700, S.N.: 8134047 pH Meter 37106 Model: Jenway 3510, S.N.: Incubator Binder B28, S.N.: 12-09327 Model: Binder BD53, S.N.: 12-02985 Model: Binder BD115, S.N.: 12-04786 Model: Binder, S.N.: 14-03407, 16-03186 Model: ROMO, Code: 200 Model: POL-EKO, S.N.: Model: Real- Time PCR Model: thermo, S.N.: PRO241500715 Balance Model: ES-100H, S.N.: 07A7417 Model: PGW453i, S.N.: AE441307 | \021309_B.pdf
15 | Water | Enumeration | SMWW 9221F:2017 | Oven Model: Binder FD115,S.N.: 12-19489 Autoclave Model: Tomy sx-700, S.N.: 8134047 pH Meter 37106 Model: Jenway 3510, S.N.: Incubator Binder B28, S.N.: 12-09327 Model: Binder BD53, S.N.: 12-02985 Model: Binder BD115, S.N.: 12-04786 Model: Binder, S.N.: 14-03407, 16-03186 Model: ROMO, Code: 200 Model: POL-EKO, S.N.: Model: Real- Time PCR Model: thermo, S.N.: PRO241500715 Balance Model: ES-100H, S.N.: 07A7417 Model: PGW453i, S.N.: AE441307 | \021309_B.pdf
16 | Water | Detection and enumeration of Enterococci | ISO _7899-2:2000 | Oven Model: Binder FD115,S.N.: 12-19489 Autoclave Model: Tomy sx-700, S.N.: 8134047 pH Meter 37106 Model: Jenway 3510, S.N.: Incubator Binder B28, S.N.: 12-09327 Model: Binder BD53, S.N.: 12-02985 Model: Binder BD115, S.N.: 12-04786 Model: Binder, S.N.: 14-03407, 16-03186 Model: ROMO, Code: 200 Model: POL-EKO, S.N.: Model: Real- Time PCR Model: thermo, S.N.: PRO241500715 Balance Model: ES-100H, S.N.: 07A7417 Model: PGW453i, S.N.: AE441307 | \021309_B.pdf
17 | Water | Detection and enumeration of Pseudomonas aeruginosa | SO 6266:2006 | Oven Model: Binder FD115,S.N.: 12-19489 Autoclave Model: Tomy sx-700, S.N.: 8134047 pH Meter 37106 Model: Jenway 3510, S.N.: Incubator Binder B28, S.N.: 12-09327 Model: Binder BD53, S.N.: 12-02985 Model: Binder BD115, S.N.: 12-04786 Model: Binder, S.N.: 14-03407, 16-03186 Model: ROMO, Code: 200 Model: POL-EKO, S.N.: Model: Real- Time PCR Model: thermo, S.N.: PRO241500715 Balance Model: ES-100H, S.N.: 07A7417 Model: PGW453i, S.N.: AE441307 | \021309_B.pdf
18 | Water | Detection and enumeration of Legionella | $O11731:2017 | Oven Model: Binder FD115,S.N.: 12-19489 Autoclave Model: Tomy sx-700, S.N.: 8134047 pH Meter 37106 Model: Jenway 3510, S.N.: Incubator Binder B28, S.N.: 12-09327 Model: Binder BD53, S.N.: 12-02985 Model: Binder BD115, S.N.: 12-04786 Model: Binder, S.N.: 14-03407, 16-03186 Model: ROMO, Code: 200 Model: POL-EKO, S.N.: Model: Real- Time PCR Model: thermo, S.N.: PRO241500715 Balance Model: ES-100H, S.N.: 07A7417 Model: PGW453i, S.N.: AE441307 | \021309_B.pdf
19 | Water | Enumeration of coliforms | ISO 9308-1:2014 amd.1:2016 | Incubators ModelDAIHAN: IG105, 1G50 S.N 1200020J176B001, 1200020J176B002. 1200020J176B005, POLEKO Auto: fate-702 Mode S.N: TRAOS-FTHPM-50 pH meter ModelOHAUS: ST3000, S.N Balance ModelOHAUS: S.N: 0093073 | \021805.pdf
20 | Water | Enumeration of Legionella | ISO 11731: 2017 | Incubators ModelDAIHAN: IG105, 1G50 S.N 1200020J176B001, 1200020J176B002. 1200020J176B005, POLEKO Auto: fate-702 Mode S.N: TRAOS-FTHPM-50 pH meter ModelOHAUS: ST3000, S.N Balance ModelOHAUS: S.N: 0093073 | \021805.pdf
21 | Water | Enumeration of Escherichia coli MF | ISO 9308-1:2014 amd.1:2016 | Incubators ModelDAIHAN: IG105, 1G50 S.N 1200020J176B001, 1200020J176B002. 1200020J176B005, POLEKO Auto: fate-702 Mode S.N: TRAOS-FTHPM-50 pH meter ModelOHAUS: ST3000, S.N Balance ModelOHAUS: S.N: 0093073 | \021805.pdf
22 | Water | Enumeration of Total plate count 22°C&37°C | [SO 6222: 1999 | Incubators ModelDAIHAN: IG105, 1G50 S.N 1200020J176B001, 1200020J176B002. 1200020J176B005, POLEKO Auto: fate-702 Mode S.N: TRAOS-FTHPM-50 pH meter ModelOHAUS: ST3000, S.N Balance ModelOHAUS: S.N: 0093073 | \021805.pdf
23 | Water | Detection & enumeration of Intestinal Enetrococci(fecal streptococci) | ISO 7899-2: 2000 | Incubators ModelDAIHAN: IG105, 1G50 S.N 1200020J176B001, 1200020J176B002. 1200020J176B005, POLEKO Auto: fate-702 Mode S.N: TRAOS-FTHPM-50 pH meter ModelOHAUS: ST3000, S.N Balance ModelOHAUS: S.N: 0093073 | \021805.pdf
24 | Water | Enumeration of Total Coliform | SMWW 9221 B:2017 | Analytical Balance Model: AS 220.R2 PLUS, S.N.: 686375 Top load Balance Model: PS 2100.R2, S.N.: 567036 Autoclave Model: AES.75, S.N.: 39496 Model: ACT20, S.N.: ACT60013881 Incubator : KB 115, S.N.: 16-06497 Mode Mode : BD 115, S.N.:20180000009826 Mode : BD 115, S.N.:20180000009826 Oven : EDS6, S.N.: 16-02773 Mode pH-meter Model: 3510, S.N.: 59126 | \021912B.pdf
25 | Water | Enumeration of Thermotolerant (Fecal) Coliform | SMWW 9221 E:2017 | Analytical Balance Model: AS 220.R2 PLUS, S.N.: 686375 Top load Balance Model: PS 2100.R2, S.N.: 567036 Autoclave Model: AES.75, S.N.: 39496 Model: ACT20, S.N.: ACT60013881 Incubator : KB 115, S.N.: 16-06497 Mode Mode : BD 115, S.N.:20180000009826 Mode : BD 115, S.N.:20180000009826 Oven : EDS6, S.N.: 16-02773 Mode pH-meter Model: 3510, S.N.: 59126 | \021912B.pdf
26 | Drinking Water | Detection and Enumeration of Total Coliform by Membrane Filter Technique | SMWW 9222 B:2017 | Manifold S.N.:66030012 Laminar Air Flow Model: LVG-4AG-F8, S.N.:2017-116400 Colony counter S.N: 8500-09158 Model: GERBER Centrifuge Model: MPW-352 S.N: 10352107121 Research Microsepe S.N: 5H41580, Model: OLYMPUS Cx41 S.N: 5E41462 | \022120.pdf
27 | Raw and Drinking Water | Enumeration of Heterotrophic bacteria at 35°C using pour plate method | SM: 9215 A:2017 | Autoclave Model: HVA-580, Hirayama,S.N.: 31806040078 Hot Plate Model: 1200,S.N.; 1434 Hot Air Oven Model: T 12,S.N.: 40552334 Water Bath Model: COLI,S.N.: 9304-002 Electronic Balance Model: ST4KDM,S.N.: 3432 | \022134B.pdf
28 | Raw and Drinking Water | Enumeration of Total coliform using membrane filteration technique. | SM: 9222 B:2017 | Autoclave Model: HVA-580, Hirayama,S.N.: 31806040078 Hot Plate Model: 1200,S.N.; 1434 Hot Air Oven Model: T 12,S.N.: 40552334 Water Bath Model: COLI,S.N.: 9304-002 Electronic Balance Model: ST4KDM,S.N.: 3432 | \022134B.pdf
29 | Raw and Drinking Water | Detection of thermotolerant (Fecal) coliform using membrane filteration technique. | SM: 9222 D:2017 | Autoclave Model: HVA-580, Hirayama,S.N.: 31806040078 Hot Plate Model: 1200,S.N.; 1434 Hot Air Oven Model: T 12,S.N.: 40552334 Water Bath Model: COLI,S.N.: 9304-002 Electronic Balance Model: ST4KDM,S.N.: 3432 | \022134B.pdf
30 | Drinking Water | Heterotrophic Plate Count | SMWW 9215-B:2017 | Biosafety Cabinet SN: 2379011 Model: Bioultra 4-Telstar Balances SN: AE 4382012 Model: Ae ADAM/PW214 SN:25509214 Model: Sartorius/GE2102 Autoclave SN: 3431 Model: Systec/V X-75 SN: 3774 Model: Systec/V X-120 Incubators SN: Model: SN: Model: SN: 11-04824 Model: Binder/KB115(E3.1) Conductivity Meter SN: 03853 Model: Jenway/4510 | \218008B.pdf
31 | Drinking Water | Enumeration of Fecal Coliform Membrane Filter Procedure | SMWW 9222-D :2017 SMWW 9222-H:2017 | Biosafety Cabinet Model: Bioultra 4-Telstar S.N: 2379011 Incubators S.N IW7SD10624 Model: Pol-eko/ILW750STD S.N S05BC10396 Model: Pol-ekoSTS Model: Binder/KB115(E3.1) 11-04824 Model: Pol-eko/ILW750STD Autoclave S.N 3431 Model: Systec/VX-75 S.N 3774 Model: Systec/VX-120 Balance AE 4382012 S.N Model: Ae ADAM/PW214 25509214 Model: Sartorius/GE2102 Conductivity Meter 03853 S.N Model: Jenway/4510 Oven S.N 13-11453 Model FD115 | \218008B.pdf
32 | Drinking Water | Enumeration of Fecal Streptococcus Membrane Filter Techniques | SMWW 9230-C:2017 | Biosafety Cabinet Model: Bioultra 4-Telstar S.N: 2379011 Incubators S.N IW7SD10624 Model: Pol-eko/ILW750STD S.N S05BC10396 Model: Pol-ekoSTS Model: Binder/KB115(E3.1) 11-04824 Model: Pol-eko/ILW750STD Autoclave S.N 3431 Model: Systec/VX-75 S.N 3774 Model: Systec/VX-120 Balance AE 4382012 S.N Model: Ae ADAM/PW214 25509214 Model: Sartorius/GE2102 Conductivity Meter 03853 S.N Model: Jenway/4510 Oven S.N 13-11453 Model FD115 | \218008B.pdf
33 | Drinking Water | Enumeration Total Coliform Membrane Filter Procedure | SMWW 9222-B : 2017 | Biosafety Cabinet Model: Bioultra 4-Telstar S.N: 2379011 Incubators S.N IW7SD10624 Model: Pol-eko/ILW750STD S.N S05BC10396 Model: Pol-ekoSTS Model: Binder/KB115(E3.1) 11-04824 Model: Pol-eko/ILW750STD Autoclave S.N 3431 Model: Systec/VX-75 S.N 3774 Model: Systec/VX-120 Balance AE 4382012 S.N Model: Ae ADAM/PW214 25509214 Model: Sartorius/GE2102 Conductivity Meter 03853 S.N Model: Jenway/4510 Oven S.N 13-11453 Model FD115 | \218008B.pdf
0 | Water | Detection and enumeration of Pseudomonas aeruginosa in water by membrane filtration method | ISO 16266:2006 | Incubator Model: Thermo, S.N.: 4249292, S.N.: 42490498, S.N.: 42196365, S.N.: 42198319 Model: Muve, S.N.: 032-178 Model: Binder, S.N.: 20170000008561, S.N.:20170000008565 Water bath Model: scientific system, S.N.: 70606170 Oven Model: China, S.N.: 11260504907959001 pH and conductivity meter Model: testolab S.N.: 76766 Electrical balance Model: Radwag, S.N.: PS3500/C/I Model: AEDAM, S.N.: AE75105134 Biological safety cabinet Model: IVF, S.N.: R570003903 Model: ESCO, S.N.: 2014-92767 Colony counter Model: Staurt, S.N.: R570003903 Autoclave Model: ALP, S.N.: 805490 | \scope_elmokhtaber-1.pdf
1 | Water | Enumeration of culturable micro-organisms at 35 & 22 °C-Pour plate method | ISO 6222:1999 | Incubator Model: Thermo, S.N.: 4249292, S.N.: 42490498, S.N.: 42196365, S.N.: 42198319 Model: Muve, S.N.: 032-178 Model: Binder, S.N.: 20170000008561, S.N.:20170000008565 Water bath Model: scientific system, S.N.: 70606170 Oven Model: China, S.N.: 11260504907959001 pH and conductivity meter Model: testolab S.N.: 76766 Electrical balance Model: Radwag, S.N.: PS3500/C/I Model: AEDAM, S.N.: AE75105134 Biological safety cabinet Model: IVF, S.N.: R570003903 Model: ESCO, S.N.: 2014-92767 Colony counter Model: Staurt, S.N.: R570003903 Autoclave Model: ALP, S.N.: 805490 | \scope_elmokhtaber-1.pdf
2 | Water | Detection and Enumeration of Intestinal Enterococci in Water by Membrane Filtration Method | ISO 7899-2:2000 | Incubator Model: Thermo, S.N.: 4249292, S.N.: 42490498, S.N.: 42196365, S.N.: 42198319 Model: Muve, S.N.: 032-178 Model: Binder, S.N.: 20170000008561, S.N.:20170000008565 Water bath Model: scientific system, S.N.: 70606170 Oven Model: China, S.N.: 11260504907959001 pH and conductivity meter Model: testolab S.N.: 76766 Electrical balance Model: Radwag, S.N.: PS3500/C/I Model: AEDAM, S.N.: AE75105134 Biological safety cabinet Model: IVF, S.N.: R570003903 Model: ESCO, S.N.: 2014-92767 Colony counter Model: Staurt, S.N.: R570003903 Autoclave Model: ALP, S.N.: 805490 | \scope_elmokhtaber-1.pdf
3 | Water | Enumeration of Escherichia coli and coliform bacteria in water by Membrane Filtration Method | ISO 9308-1:2014 | Incubator Model: Thermo, S.N.: 4249292, S.N.: 42490498, S.N.: 42196365, S.N.: 42198319 Model: Muve, S.N.: 032-178 Model: Binder, S.N.: 20170000008561, S.N.:20170000008565 Water bath Model: scientific system, S.N.: 70606170 Oven Model: China, S.N.: 11260504907959001 pH and conductivity meter Model: testolab S.N.: 76766 Electrical balance Model: Radwag, S.N.: PS3500/C/I Model: AEDAM, S.N.: AE75105134 Biological safety cabinet Model: IVF, S.N.: R570003903 Model: ESCO, S.N.: 2014-92767 Colony counter Model: Staurt, S.N.: R570003903 Autoclave Model: ALP, S.N.: 805490 | \scope_elmokhtaber-1.pdf